## Slide 1: The Fermilab Muon (g - 2) Experiment: Status and Outlook
Lee Roberts – Boston University

## Slide 2: Muon g-2 Collaboration
US Universities
  Boston
  Cornell
  Illinois
  James Madison
  Kentucky
  Massachusetts
  Michigan
  Michigan State
  Mississippi
  Northern Illinois
  Regis
  Texas
  Virginia
  Washington
National Labs
  Argonne
  Brookhaven
  Fermilab
England
  Cockroft Institute
  Lancaster
  Liverpool
  University College London
Korea
  KAIST
Russia:
  Dubna
  Novosibirsk
Italy
  INFN
    LNF Frascati,
    Naples
    Pisa
    Roma 2
    Trieste
    Lecce
  Udine
  Naples
  Trieste
  Rjeka
  Molise
  SNS Pisa
China:
  Shanghai
Germany:
  Dresden (thy)

## Slide 3: Magnetic Dipole Moments
Dipole in a B field:
ms for a particle with spin:
Larmor precession
Notes: 3

## Slide 4: Outline
Introduction
  what and why
The spin equations and the technique
Measurement of the magnetic field wp
Measurement of the muon spin frequency wa
Status of the experiment
Summary

## Slide 5: Comparison with Experiment
- theory
as of 2/2018

## Slide 6: Measuring Lepton Magnetic Dipole Moments

## Slide 7: I.I. Rabi
Never measure anything but frequency

## Slide 8
Particle: q = Qe moving in a magnetic field: momentum turns with cyclotron frequency wC,
spin turns with wS
Spin turns relative to the momentum with wa
Spin Motion in a Magnetic Field
Note that Thomas precession cancels out in the difference frequency!

## Slide 9: In a storage ring, we need vertical focusing
With an electric quadrupole field for vertical focusing and the magic g
0
Measure two quantities
where B is expressed in terms of the Larmor frequency of a free proton, averaged over the muon distribution.

## Slide 10: The Magnet (at BNL)
Muon lifetime gtm = 64.4 ms
(g-2) period ta = 4.37 ms
Cyclotron period tC = 149 ns

## Slide 11: The Magnet (at Fermlab)
APRIL 2017
24 Calorimeter stations located all around the ring
Measure arrival time & energies of the decay e+

## Slide 12: Beam: BNL
24 GeV/c proton beam
The pion decay channel is 80 m and the ring diameter is 14.1 m. Most m are thrown away to minimize pion content of the beam. p/m ≃ 1:1, big source of background
Analyzed Events:
9 × 109
8 GeV/c proton beam from Booster
The pion decay channel is ≃ 2.4 km, No p left
Fermilab
E989
goal: 2 × 1011

## Slide 13
Muon g-2 Beam
8 GeV p batch into Recycler
Split into 4 bunches
Extract each bunch to strike target
Long FODO channel to collect p  mn
p/p/m beam enters DR; protons kicked out; p decay away
~10,000 m stored in ring per pulse
6/7/17

## Slide 14: Built-in Shimming Tools provide many knobs
B Field 1.45T
12 Yokes: C shaped flux returns
24 Iron Top Hats: change effective m
864 Wedges: angle - quadrupole (QP)) and dipole
72 Poles: shape field
Edge Shims: QP, sextapole (SP)
8000 Surface iron foils: change effective mu locally
Surface coils: will add average field moments (360 deg)
Notes: controlling the size of air gaps..these are all the handles to control the air gap..to make field more uniform.
Red is the storage region, we move around different wedges (shimmining)
The goal is to manipulate things in the storage region

## Slide 15: The final shimming tool: Iron Laminations
Cover each pole with a patchwork of foils in 41 azimuthal and 3 radial sections
Determine optimal foil mass values by iterative procedure that minimizes field inhomogeneity around a target value
– Dave Kawall U Mass
CENPA
Notes: Fill in gaps with tiny iron laminations cut them in different sizes to fill in the missing piece of the magnetic field

## Slide 16: wp The Magnetic field:
Pulsed NMR. A p/2 pulse is applied to a petroleum jelly sample, and the free-induction-decay is digitized and analyzed to determine the FID frequency
We monitor the field during data collection with 378 NMR probes outside of the vacuum chamber.
We map the field inside of the ring with dedicated “trolley runs”
Through a series of steps using a spherical water probe, we calibrate to the Larmor frequency of a free proton.
petroleum jelly

## Slide 17: Pulsed NMR, Free Induction Decay

## Slide 18: wp Initial course shiming of the magnet
Use a special trolley
Beating gradients

## Slide 19: The precision field emerges
Initial dipole field map October 14, 2015 peak variation 1400 ppm
BNL final shimming.
Black dot on bottom plot follows timeline
+

## Slide 20: E989 field after shimming
Central trolley probe vs. azimuth
0.5 ppm contours
field volume 0.11 m3 or 4 ft3
Fermilab goals:
  point to point uniformity ±25 ppm, rms BNL/3
  average over azimuth even flatter than BNL
  total field error budget 70 ppb
;
For one value of azimuth, f

## Slide 21: We measure two frequencies: wa and wp
The magnetic field is normalized to the Larmor frequency of a free proton.
Spherical absolute calibration probe ties our NMR frequency to the free proton.
We must weight the magnetic field by the muon distribution to obtain
where the fundamental constants are known from other experiments.

## Slide 22
Polarized muons born from pion decay
The highest energy positrons are correlated with muon spin.
As the spin rotates forward and backward the number of e+ is modulated by wa
wa
Birth
after 2.2ms Death
Energy spectrum
Spin Angle

## Slide 23
B. L. Roberts, Fermilab , 3 September 2008
- p. 23/68
Inflector
Kicker
Modules
Storage
ring
Central orbit
Injection orbit
Pions
p=3.1GeV/c
Experimental Technique
R=711.2cm
d=9cm
(1.45T)
Electric Quadrupoles
xc ≈ 77 mm
b ≈ 10 mrad
B·dl ≈ 0.1 Tm
xc
R
R
b
Target
narrow bunch of protons
Muon storage ring – weak focusing betatron
Muon polarization
Injection & kicking
Focus with electric quads
24 electron calorimeters (E, t)
Notes: 23

## Slide 24: E989 arrival-time spectrum ( ppm)
Time modulo 100 ms
0 – 100 ms
100 – 200 ms
200 – 300 ms
300 – 400 ms
400 – 500 ms
500 – 600 ms
gt

## Slide 25
New segmented 6 ✕ 9 PbF detectors
  measure E and t.
New custom 800 MHz waveform digitizers
Two stations with straw trackers in front of PbF2
wa at Fermilab

## Slide 26: Full spin difference equation:
we must correct for these terms
  Pitch
  Radial Electric field
Pitch ~0.3 ppm in E821
Radial field ~0.5 ppm in E821.
To calculate them we need the muon distribution

## Slide 27: Aside: Spin and Gravity
Proposed correction to the motional magnetic field:
but the value of the motional magnetic field is small
The the relative contribution is:
This should not be a surprise since their calculated correction was twice the EW contribution.
Lesson to theorists: Talk with the experimentalists before you publish.

## Slide 28
SiPM boards optimized to produce PMT-like pulses to exploit short pulse duration of Cherenkov crystals (relevant: pileup)
- p. 28
Segmented PbF2 Calorimeter with SiPM readout
NIM A783(2015)12–21

## Slide 29: State-of-the-art Laser-based calibration system
Front Panel Prisms
10-4 / h demonstrated
- p. 29

## Slide 30: Tracker and caolrimeter: June 2017
Calorimeter
8 Trackers

## Slide 31: Tracker Design
Each tracker has 8 modules that sit in front of calorimeter
Each module has 128 straws in four layers
Top down view of ring section
Muon’s-eye view inside vacuum chamber
Storage Region
BEAM

## Slide 32: Tracker: Momentum & Time
See e+ spectrum from μ+ decay
After a momentum cut, g-2 oscillation appears
Can also see beam motion frequency in FFT
p > 1.8 GeV
“Lost” μ+
e+ from μ+ decay
Beam Oscillation
g-2
FFT

## Slide 33: Tracker: Beam Distribution
Extrapolate tracks back to point of tangency to get beam distribution:
2/3 trackers installed & operational
rmagic – 5 cm
Decay Vertices
Radial & Vertical Position

## Slide 34: Where could a m be at the end of E989?
With 2×1011 analyzed events above 1.8 GeV
  total data “several petabytes”
Experiment ± 140 ppb (±16 × 10-11) or better
Theory ± 306 ppb (±35 × 10-11) or better
D = (274 ± 38) × 10-11
> 7 s
Blum, et al.,
arXiv:1311.2198v1 [hep-ph] 9 Nov 2013

## Slide 35: Final Comments
This is very much a work in progress.
Goals
  before the 2018 summer shutdown we hope to have one to two times the BNL data set
  the next data set sBNL ÷ 2
  Final result sBNL ÷ 4

## Slide 36
g = 2(1 + a/2p)
g = 2(1 + a/2p + C3(a/p)3 )
g = 2( … + C3(a/p)3 + Had)
g = 2( … + C3(a/p)3 + Had)
g = 2( … + C3(a/p)3 + C4(a/p)4+ Had + Weak + ? )

## Slide 38: Systematic Errors on wa (ppb)

## Slide 39: Errors from BNL and projected at Fermilab

## Slide 40: Tracker: Beam Dynamics
    Use same data to measure position and width changes from beam oscillation
Radial Position within Fill
Mean & RMS of Radial Position

## Slide 41: Electric Dipole Moment: P T
If CPT is valid, the T violation of an EDM would imply non-standard model CP. Of course, we need new sources of CP to explain why we’re here.
Transformation Properties

## Slide 42: The Muon EDM would modify the precession.
A muon EDM would modify the spin equation
the motional electric field will dominate, so the precession plane is tilted.

## Slide 43: The spin is tipped all around the ring

## Slide 44: Advantage of tracking
tracking: look for an oscillation of upward, then downward going tracks, + p/2 phase relative to wa.
Spin is tipped at every point around the ring.
Furthermore, the figure of merit is advantageous for dm, in that it peaks lower as shown on the next slide

## Slide 45: The Muon EDM would modify the precession.
A muon EDM would modify the spin equation
the motional electric field will dominate, so the precession plane is tilted.
An up-down oscillation out of phase
with wa.
0
Frozen Spin